## Hoja1
GENERATION_PROJECT | gen_tech | gen_energy_source | gen_load_zone | gen_max_age | gen_is_variable | gen_is_baseload | gen_full_load_heat_rate | gen_variable_om | gen_connect_cost_per_mw | gen_scheduled_outage_rate | gen_forced_outage_rate | gen_capacity_limit_mw | gen_unit_size | gen_ccs_energy_load | gen_ccs_capture_efficiency | gen_min_build_capacity | gen_is_cogen
H_AguaFresca | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Alejandria | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Amaime | Menores | RunofRiver | VALLE | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
S_Awalara | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Barroso | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
T_Bioenergy | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_BiogDJuana | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_Cantayus | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Caruquia | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Cocuyo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_CogCabanas | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CoColtejer | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CogIncauca | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CoIngscarl | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CoMayagues | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CogProenca | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CoProviden | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CoRioPaila | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_CoRisarald | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | 1
T_DonJuanaII | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_ElEden | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_ElMolino | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_ElPopal | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Guachicono | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Guanaquita | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_JuanGarcia | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_LasPalmas | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_LuzMaI | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_LuzMaII | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Herradura | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Jepirachi | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_La_Vuelta | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Puente_Gui | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Montanitas | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_MorroAzul | Menores | RunofRiver | CQR | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Paloma | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Dovio | Menores | RunofRiver | VALLE | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Flautas | Menores | RunofRiver | VALLE | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Magallo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioGrande | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Cauya | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Naveta | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_TZII | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Coello | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_ProvidencI | Menores | RunofRiver | ANT-CHO | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_RioMultat1 | Menores | RunofRiver | VALLE | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_RioBravoCa | Menores | RunofRiver | VALLE | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_SanAndres2 | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SanMatias | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Sirgua | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_Tequendama | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_TermYopal1 | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_TerBolivar | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_Mechero4 | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_Mechero5 | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_Mechero6 | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_Piedras | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_TuluaAlto | Menores | RunofRiver | VALLE | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_TuluaBajo | Menores | RunofRiver | VALLE | 80 | 0 | 1 | . | 0 | 0 | 0.0573 | 0.213 | . | . | . | . | 0 | 0
H_Tunjita | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_GuajiraI | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Windpeshi | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_JK3 | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_JK4 | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Acacias2 | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_JK1 | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_ParqueBeta | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Chemesky | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_TumaWind | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PoloNuevo1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PoloNuevo2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_El_Paso | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Latam1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Latam2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Ponedera | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Yumbo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_ParqueAlph | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSLlanos1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSBolvr500 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSBolvr501 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSBolvr502 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_AuresBajo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Buco | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Montebonit | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Hidronare | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Conde | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Barrancas | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_DonaTere | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SanJosMoII | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_AuresAlto | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LatamSolar | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_LaCascada | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_IngPichiI | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_IngCarmerI | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_CascadaAnt | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Tumaco1 | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_AutoYaguar | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AutoUnibol | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_ArgosYumbo | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_Reficar | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_ArgoCartag | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_Sueva2 | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_Castilla1 | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_Urrao | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_LaRebusca | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Santiago | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SantaRita | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SFrancisPu | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Rumor | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioNegro | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioPiedras | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioFrioII | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioFrioI | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Remedios | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_ProencaII | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_BSLlanos2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSLlanos3 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSLlanos4 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSLlanos5 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_CoCocaCola | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_Prosperida | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Wayuu | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaIguana | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_EgipPalmas | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AutoSogamo | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AutoFamili | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_RioMulato2 | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Since | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_CoManuelit | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_SolBolivar | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sierpe | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Camelia | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Atlantico1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Colorados | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_NRColI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_TerCapacho | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_Bayunca1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Guayacan | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Ceiba | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Violetas | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Patico | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SanFelipe | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Ahumado | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Libertad | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PetaloCesa | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Cartago | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PortonSol | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Fundacion | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaSierra | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Chicamocha | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Codazzi1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Codazzi2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Paipa_I | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Paipa_II | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Tepuy | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Wimke | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Pocune | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Morrosqll1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Morrosqll2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaCayena | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ZambranoII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Filigrana | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Baranoa | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSBolvr503 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSBolvr504 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElColibri | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Union | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Guayepo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_AtlanPhoto | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaMata | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Chorrera | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PalmaSeca | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElCampano | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Guayacanes | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Ubate | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Caracoli | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_JK2 | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Pubenza | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Trebol | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_yariguies | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Andes | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_AutogCDSTM | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_Ovejas | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Florida | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioSapuye | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioMayo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Mondomo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Asnazu | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Inza | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Sajandi | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Silvia | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_JulioBravo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioBobo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioPalo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Coconuco | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_PaticoCab | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Nuevoliba | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Belmonte | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Bayona | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_CampestreC | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Union | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SanJose | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_ElBosque | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Frisolera | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_ElLimonar | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SantaAna | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Suba | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Usaquen | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Guaviomeno | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_America | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Ayura | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_Bello | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
H_CampestreE | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Manantiale | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_AutCemNare | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Caracoli | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Sonson | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SanjoseMon | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Amalfi | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioFrioTam | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Guacaica | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Intermedia | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SanCancio | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Niquia | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Nutibara | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Cascada | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Pajarito | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Municipal | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Porce3Meno | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Nima | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioCali | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_IquiraI | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_IquiraII | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_LaPita | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Pastales | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Mirolindo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Rio_Recio | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_VentanaA | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_VentanaB | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Currucucue | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Tatefanes | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Ocobos | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_CascadaGra | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_PanderiscI | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Culantral | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SabanaLarg | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Magdalena | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Barranca | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_AguaAzul1 | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AguaAzul2 | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_PetaCesaII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PtrWilches | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Macaregua | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Gamarrita1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Gamarrita2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Gamarrita3 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Chicamoch1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Chicamoch2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Chicamoch4 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_CBarbosaI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_CBarbosaII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SabanaTorr | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Cimitarra | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Oicata | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSLlanos | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_DelphiHeli | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Cordobita | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_IpapureE02 | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Atlanti168 | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Jumi | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_CRLI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SGD | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_Carreto | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PN1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BadelI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_AtlanticIV | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_KairoI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_KairoII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_KairoIII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_PacoraI | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_PacoraII | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Belmonte | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Cabelleros | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PuertaOro | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_GranjaSanF | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Medin | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Paraiso | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Cauquillo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioHondo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Hidroarqui | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Shangrila | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Versalles | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Lanceros | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Yuma | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Cerrito | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_UatOrito | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_Zarzal1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Paila | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Andaluci | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Espinal | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_7X19.9 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_TamarindI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_TamarindII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_CordobaI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_CordobaII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BRS60 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Alejandria | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PetaloSucr | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Tolua | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_TierraLind | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Zawad | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Nabusimake | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Carmelo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Frazadas | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Jireh | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Alma1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Flandes | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_CogPapeles | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AutTurgas | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AutFertico | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AutArCairo | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_AutHormiga | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
T_IngPichich | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_PEESA | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Colorados2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Bugalagr | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Zarzal2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Barranquit | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_MataRedond | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Malambo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SanIsidro | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Levapan | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Dulima | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Tucanes | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ParqueOLDT | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_CSBuga1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Victoria2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ParqueUrra | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Escobal1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Escobal2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Escobal3 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Escobal4 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Escobal5 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Escobal6 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ValleSol | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Toluviejo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElTropezon | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Dinamarca | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Versalles | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Alma2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Zeus | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_JuanaMaria | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Girasoles | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PlanetaRic | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PetaloMagd | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ACSASolar | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Roldanillo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PiojoI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PiojoII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PiojoIII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Arenal | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Suarez | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Andromeda | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Chinu | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Zapatoca | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sunnorte | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Pradera | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BSLLanos7 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LasMarias | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sahagun | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Aguaclara | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSFBaranoa | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SBartolome | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Oibita | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_Termotame | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_SFrancisco | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_TerTasajer | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Piendamo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_PiacoraI | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_PiacoraII | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_GrSFelipe | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sachica | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
T_MilpaSamac | Thermal | Coal | . | 80 | . | 0 | . | . | . | . | . | . | . | . | . | . | .
S_Victoria1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSBochica | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SantaRosa | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Altamira | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_JacobTolu | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaMena | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Gualanday | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_AltoOvejas | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_LaFlorida | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElRoble | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Manglares | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_RioVerde | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Barzalosa | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_SantaInes | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Chorrerita | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElGaban2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sincerin | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Numbana | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElGuamo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LigustroI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LigustroII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Tangara | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sahagun200 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Guayepo2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Monteliban | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SandaloII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSRovira | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_MalamboI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Corocora | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Valledupar | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElCopey | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_BrisaSol3 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_AutBavaria | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_HondaSol1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ApuloSol1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Buenavista | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SoldeMarII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_CentroSola | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Morrosqll3 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_HondaSol2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSColima | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSCondor | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Morichal | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Paloblanc1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Paloblanc2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Paloblanc3 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ArdobelaI | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Pacande | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSJeques | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ArdobelaII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PtoTejada | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Guachal1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Natagaima | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Purificac | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SanOro | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElBongo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SanPelayo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SanSerapio | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_AutMalambo | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Uraba1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Uraba2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SummaII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Santander | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_FVLizama | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaFortuna | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Domenica | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_TolimaNort | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Carare | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_AurraSucia | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Hatogrande | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sue1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Guachal2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Guachal3 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSMinero | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElLago2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElLago1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Chinchina | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Zuba2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Zuba1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElJardin | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
E_VtsAlisios | Eolica | Wind | . | 80 | . | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ApuloSolII | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Villavieja | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaOrquidea | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaPaloma | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Playitas | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Guaico | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Romosinuan | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Harinas | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_EMCALI1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_PSRockra | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_ElArbolito | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SolyCielo1 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Charcos | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Laguna | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Novillero | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaMina | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_EMCALI2 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaTabla | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_Vequedo | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
H_CHLaNoque | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_JuanMina | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_LaMartina | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_SFPWilches | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Carreto | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Primavera | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S_Sahagun201 | pv_solar | Solar | . | 80 | 1 | 1 | . | 0 | . | . | . | . | . | . | . | 0 | 0
AF_RIOCUCUA | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
AF_SNMARCOS | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
ALTOANCHICAY | Hidro | Water | VALLE | 80 | 0 | 0 | . | 0 | 0 | 0.1946 | 0.1735 | . | . | . | . | 0 | 0
AMOYA | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | 0 | 0.0574 | 0.0117 | . | . | . | . | 0 | 0
BAJOANCHICAY | Hidro | Water | VALLE | 80 | 0 | 0 | . | 0 | 0 | 0.0314 | 0.018 | . | . | . | . | 0 | 0
BETANIA | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | 0 | 0.1069 | 0.0234 | . | . | . | . | 0 | 0
C_LLERAS_R | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.1 | 0.1 | . | . | . | . | 0 | 0
CALDERAS | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.1069 | 0.0234 | . | . | . | . | 0 | 0
CALIMA | Hidro | Water | VALLE | 80 | 0 | 0 | . | 0 | 0 | 0.3327 | 0.0792 | . | . | . | . | 0 | 0
CAMPOALEGRE | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
CHARQUITO | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
CHINCHINA | Hidro | Water | CQR | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
CHIVOR | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | 0 | 0.2232 | 0.0093 | . | . | . | . | 0 | 0
CHUZA | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
COMP. ESPINO | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
CUCUANA | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | 0 | 0.15 | 0.15 | . | . | . | . | 0 | 0
DARIO VALENC | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
DESANFRAN | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
DESV RBLANCO | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
DOLORES | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
DS_SNMARCOS | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
EL QUIMBO | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
ESCUELAMINAS | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
ESMERALDA | Hidro | Water | CQR | 80 | 0 | 0 | . | 0 | 0 | 0.1243 | 0.0218 | . | . | . | . | 0 | 0
ESTRELLA | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
GUADALUPE 3 | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
GUADALUPE 4 | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
GUARINO | Hidro | Water | CQR | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
GUATAPE | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.0516 | 0.0113 | . | . | . | . | 0 | 0
GUAVIO | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | 0 | 0.0639 | 0.0049 | . | . | . | . | 0 | 0
INSULA | Hidro | Water | CQR | 80 | 0 | 0 | . | 0 | 0 | 0.38 | 0.38 | . | . | . | . | 0 | 0
ITUANGO | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
JAGUAS | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.1601 | 0.006 | . | . | . | . | 0 | 0
LA GUACA | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
LA TASAJERA | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
LAGUN-LIMON | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | 0 | 0.1 | 0.04 | . | . | . | . | 0 | 0
MANSO | Hidro | Water | CQR | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
MIEL I | Hidro | Water | CQR | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
MIRAFLORES | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
MUNA | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
NECHI | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
NEGRO | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
NEGRORUCIO | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
NEUSA | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
NIQUIA | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
PAJARITO | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.38 | 0.38 | . | . | . | . | 0 | 0
PARAISO | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | 0 | 0.0684 | 0.013 | . | . | . | . | 0 | 0
PLAYAS | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.1034 | 0.0101 | . | . | . | . | 0 | 0
PORCE II | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
PORCE III | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
PRADO | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | 0 | 0.1455 | 0.0312 | . | . | . | . | 0 | 0
PRADO4 | Hidro | Water | HTC | 80 | 0 | 0 | . | 0 | 0 | 0.38 | 0.38 | . | . | . | . | 0 | 0
QUEBRADONA | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
RB ACHU-ESPI | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
RB ACHURY | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
RB ESPI-ALIC | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
RIOGRANDE 1 | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
RUCIO | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
S ACUEDU-BOG | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
SALTO II | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
SALVAJINA | Hidro | Water | VALLE | 80 | 0 | 0 | . | 0 | 0 | 0.1947 | 0.1376 | . | . | . | . | 0 | 0
SAN CARLOS | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
SANFRANCISCO | Hidro | Water | . | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
SISGA | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
SNMIGUEL | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.1 | 0.1 | . | . | . | . | 0 | 0
SOGAMOSO | Hidro | Water | SANT-ARA | 80 | 0 | 0 | . | 0 | 0 | 0.15 | 0.15 | . | . | . | . | 0 | 0
TENCHE | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
TEQUEND1-4 | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
TOMINE | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
TRONERAS | Hidro | Water | ANT-CHO | 80 | 0 | 0 | . | 0 | 0 | 0.0304 | 0.0112 | . | . | . | . | 0 | 0
TUNEL CHUZA | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | . | . | . | . | . | . | . | 0 | 0
TUNJITA | Hidro | Water | BOG-CUN | 80 | 0 | 0 | . | 0 | 0 | 0.35 | 0.35 | . | . | . | . | 0 | 0
URRA | Hidro | Water | COR-SUC | 80 | 0 | 0 | . | 0 | 0 | 0.0918 | 0.0036 | . | . | . | . | 0 | 0
BARRANQUILL3 | Thermal | GASIMPOR | ATLANTICO | 80 | 0 | 0 | 12.0573 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
BARRANQUILL4 | Thermal | GASIMPOR | ATLANTICO | 80 | 0 | 0 | 13.42 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
C_CANDELARIA | Thermal | GASIMPOR | BOLIVAR | 80 | 0 | 0 | 8.2683 | 8.45 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
CANDELARIA1 | Thermal | GASIMPOR | BOLIVAR | 80 | 0 | 0 | 8.2683 | 5.53 | 0 | 0.0304 | 0.0149 | . | 1 | . | . | 0 | 0
CANDELARIA2 | Thermal | GASIMPOR | BOLIVAR | 80 | 0 | 0 | 8.3571 | 5.53 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
CARTAGENA1 | Thermal | COMBUSTOLEO | BOLIVAR | 80 | 0 | 0 | 8.3571 | 7.08 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
CARTAGENA2 | Thermal | COMBUSTOLEO | BOLIVAR | 80 | 0 | 0 | 8.0576 | 7.08 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
CARTAGENA3 | Thermal | COMBUSTOLEO | BOLIVAR | 80 | 0 | 0 | 8.0576 | 7.08 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
CARTAGGAS1 | Thermal | GASNACIO | BOLIVAR | 80 | 0 | 0 | 13.665 | 5.53 | 0 | 0.0304 | . | . | 1 | S | . | 0 | 0
CARTAGGAS2 | Thermal | GASNACIO | BOLIVAR | 80 | 0 | 0 | 15.7148 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
CARTAGGAS3 | Thermal | GASNACIO | BOLIVAR | 80 | 0 | 0 | 11.5167 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
ELTESORITO | Thermal | GASNACIO | COR-SUC | 80 | 0 | 0 | 13.582 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
FLORES 1 | Thermal | GASIMPOR | ATLANTICO | 80 | 0 | 0 | 13.8215 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
FLORES1GN | Thermal | GASNACIO | ATLANTICO | 80 | 0 | 0 | 13.2503 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
FLORES4 | Thermal | GASNACIO | ATLANTICO | 80 | 0 | 0 | 9.5127 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
FLORES4GIM | Thermal | GASIMPOR | ATLANTICO | 80 | 0 | 0 | 9.2813 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
GUAJ1GAS | Thermal | GASNACIO | GCM | 80 | 0 | 0 | 11.8364 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
GUAJ2GAS | Thermal | GASNACIO | GCM | 80 | 0 | 0 | 11.6017 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
GUAJIRA1 | Thermal | CARBON | GCM | 80 | 0 | 0 | 8.4012 | 8.62 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
GUAJIRA2 | Thermal | CARBON | GCM | 80 | 0 | 0 | 9.997 | 8.62 | 0 | 0.0304 | 0.1128 | . | 1 | . | . | 0 | 0
MERILECTRICA | Thermal | GASNACIO | SANT-ARA | 80 | 0 | 0 | 11.2741 | 5.53 | 0 | 0.0304 | 0.0442 | . | 1 | . | . | 0 | 0
PAIPA 1 | Thermal | CARBON | BOY-CAS | 80 | 0 | 0 | 9.773 | 8.62 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
PAIPA 2 | Thermal | CARBON | BOY-CAS | 80 | 0 | 0 | 11.1594 | 8.62 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
PAIPA 3 | Thermal | CARBON | BOY-CAS | 80 | 0 | 0 | 8.699 | 8.62 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
PAIPA 4 | Thermal | CARBON | BOY-CAS | 80 | 0 | 0 | 10.1434 | 8.62 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
PROELECTRIC1 | Thermal | GASNACIO | BOLIVAR | 80 | 0 | 0 | 12.4335 | 5.53 | 0 | 0.0304 | 0.0766 | . | 1 | . | . | 0 | 0
PROELECTRIC2 | Thermal | GASNACIO | BOLIVAR | 80 | 0 | 0 | 10.5569 | 5.53 | 0 | 0.0304 | 0.0788 | . | 1 | . | . | 0 | 0
TASAJERO 1 | Thermal | CARBON | NSANT | 80 | 0 | 0 | 10.4643 | 8.62 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TASAJERO 2 | Thermal | CARBON | NSANT | 80 | 0 | 0 | 8.6485 | 8.62 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TC_GECELCA3 | Thermal | CARBON | COR-SUC | 80 | 0 | 0 | 9.2374 | 8.62 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
TC_GECELCA32 | Thermal | CARBON | COR-SUC | 80 | 0 | 0 | 10.1502 | 8.62 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
TEBSAB | Thermal | GASNACIO | ATLANTICO | 80 | 0 | 0 | 11.4401 | 5.53 | 0 | 0.0304 | 0.0355 | . | 1 | . | . | 0 | 0
TEBSAGIM | Thermal | GASIMPOR | ATLANTICO | 80 | 0 | 0 | 11.7024 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMO YOPAL2 | Thermal | GAS-YOPAL | BOY-CAS | 80 | 0 | 0 | 12.9999 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMO_JAGUEY | Thermal | COMBUSTOLEO | . | 80 | 0 | 0 | 14.0096 | 8.4 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOCARIBE3 | Thermal | GLP | . | 80 | 0 | 0 | 10.3503 | 8.4 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOCENTRO | Thermal | GASNACIO | SANT-ARA | 80 | 0 | 0 | 7.1417 | 5.53 | 0 | 0.0304 | 0.1064 | . | 1 | . | . | 0 | 0
TERMODORADA1 | Thermal | ACPM | CQR | 80 | 0 | 0 | 7.5521 | 7.08 | 0 | 0.0304 | 0.1814 | . | 1 | . | . | 0 | 0
TERMODORAGAS | Thermal | GASNACIO | CQR | 80 | 0 | 0 | 8.4778 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOEMCALI | Thermal | ACPM | VALLE | 80 | 0 | 0 | 10.4674 | 7.08 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOEMCGAS | Thermal | GASNACIO | VALLE | 80 | 0 | 0 | 10.8036 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMONORTE | Thermal | ACPM | GCM | 80 | 0 | 0 | 6.5573 | 7.08 | 0 | 0.0304 | 0.6222 | . | 1 | . | . | 0 | 0
TERMORUBIALE | Thermal | COMBUSTOLEO | MET-GUAV | 80 | 0 | 0 | 7.6834 | 8.4 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOSIERRA | Thermal | ACPM | ANT-CHO | 80 | 0 | 0 | 7.1852 | 7.08 | 0 | 0.0304 | 0.199 | . | 1 | . | . | 0 | 0
TERMOVAGAS | Thermal | GASNACIO | VALLE | 80 | 0 | 0 | 7.9794 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOVALLE | Thermal | ACPM | VALLE | 80 | 0 | 0 | 13.8269 | 7.08 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOYOPALG3 | Thermal | GAS-YOPAL | BOY-CAS | 80 | 0 | 0 | 7.0123 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOYOPALG4 | Thermal | GAS-YOPAL | BOY-CAS | 80 | 0 | 0 | 8.0091 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TERMOYOPALG5 | Thermal | GAS-YOPAL | BOY-CAS | 80 | 0 | 0 | 8.0091 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
TSIERRAGAS | Thermal | GASNACIO | ANT-CHO | 80 | 0 | 0 | 8.6441 | 5.53 | 0 | 0.0304 | . | . | 1 | . | . | 0 | 0
ZIPAEMG2 | Thermal | CARBON | BOG-CUN | 80 | 0 | 0 | 9.7672 | 8.62 | 0 | 0.0304 | 0.273 | . | 1 | . | . | 0 | 0
ZIPAEMG3 | Thermal | CARBON | BOG-CUN | 80 | 0 | 0 | 9.6528 | 8.62 | 0 | 0.0304 | 0.2174 | . | 1 | . | . | 0 | 0
ZIPAEMG4 | Thermal | CARBON | BOG-CUN | 80 | 0 | 0 | 9.6528 | 8.62 | 0 | 0.0304 | 0.2389 | . | 1 | . | . | 0 | 0
ZIPAEMG5 | Thermal | CARBON | BOG-CUN | 80 | 0 | 0 | 8.42 | 8.62 | 0 | 0.0304 | 0.1426 | . | 1 | . | . | 0 | 0